## sensors
Utah AgWx Sensor Suite
sensors | elevation (in) | method | resolution/accuracy | manufacturer, model
air temperature 1 | 78 | platinum resistance detector (PRT) | (+- 0.2 degrees C) | Vaisala, HMP45
air temperature 2 | 70 | thermistor | (+- 0.2 degrees C) | CSI 107
relative humidity | 78 | capacitive polomer chip | (+- 3%) | Vaisala, HMP45
solar radiation | 70 | silicon chip pyranometer | (< 5%) | Apogee SP-110
Soil moisture | -8 | time domain transmissometry | (< 5%) | Acclima TDT
Soil temperature 1 | -4 | thermistor | (+- 0.2 degrees C) | CSI 107
Soil temperature 2 | -8 | time domain transmissometry | (+- 0.2 degrees C) | Acclima TDT
wind speed | 118 | 4-blade propeller | (+- 1%) | R.M. Young 05103
wind direction | 118 | vane | (+- 3%) | R.M. Young 05103
precipitation (wet) | 120 | tipping bucket | (+- 2%) | Texas Electronics 525

## Station
ID | AgriMetID | Station Name | Elevation (ft) | Dec Deg | Dec Deg | County | Vegetation
415 | MURU | Murray | 4290 | 40.6313 | -111.9198 | Salt Lake | turf

## output tables
table | RAW | table | RAW | table | RAW
daily | TIMESTAMP | Hourly | TIMESTAMP | minute | TIMESTAMP
| RECORD |  | RECORD |  | RECORD
| Program |  | update |  | AirT107_C
| Station |  | Program |  | AirT_C
| Batt_V_MIN |  | Station |  | DPT_C
| AirT107_C_AVG |  | IntTemp_C |  | RH
| AirT_C_AVG |  | Batt_V |  | Solar_Wm2
| AirT_C_MAX |  | AirT107_C_AVG |  | WS_ms_MAX
| AirT_C_TMX |  | AirT_C_AVG |  | WS_ms_AVG
| AirT_C_MIN |  | AirT_C_MAX |  | WindD_AVG
| AirT_C_TMN |  | AirT_C_MIN |  | Rain_mm_TOT
| Solar_MJ_TOT |  | Solar_MJ_TOT |  | Tot_60rain_mm
| WS_ms_AVG |  | WS_ms_AVG |  | Tot_dayrain_mm
| WindD_AVG |  | WindD_AVG |  | SoilT4_C
| WindD_SD |  | WindD_SD |  | SoilT8_C
| WS_ms_MAX |  | WS_ms_MAX |  | Soil_VWC
| WS_ms_TMX |  | VP_kPa_AVG
| VP_kPa_AVG |  | RH_MAX
| RH_MAX |  | RH_MIN
| RH_MIN |  | DPT_C_AVG
| DPT_C_AVG |  | DPT_C_MAX
| DPT_C_MAX |  | DPT_C_MIN
| DPT_C_TMX |  | Rain_mm_TOT
| DPT_C_MIN |  | HETo_mm
| DPT_C_TMN |  | HETr_mm
| Rain_mm_TOT |  | SoilT4_C
| Rain7day_mm |  | SoilT8_C
| DETo_mm |  | Soil_VWC
| ETo7day_mm |  | door
| DETr_mm |  | Rso
ETr7day_mm
SoilT4_C_AVG
SoilT4_C_MAX
SoilT4_C_TMX
SoilT4_C_MIN
SoilT4_C_TMN
SoilT8_C_AVG
SoilT8_C_MAX
SoilT8_C_TMX
SoilT8_C_MIN
SoilT8_C_TMN
Soil_VWC_AVG
table | RAW
minute | TIMESTAMP
RECORD
AirT107_C
AirT_C
DPT_C
RH
Solar_Wm2
WS_ms_MAX
WS_ms_AVG
WindD_AVG
Rain_mm_TOT
Tot_60rain_mm
Tot_dayrain_mm
SoilT4_C
SoilT8_C
Soil_VWC