## stations
station | ID | State | County | elevation (ft) | Latitude | Longitude
Naomi | 700 | Utah | Cache | 5170.6038 | 41.785916° | -111.780668°
Paradise | 601 | Utah | Cache | 5492.1262 | 41.549528° | -111.850075°
NLWater | 702 | Utah | Cache | 5524.9346 | 41.785572° | -111.773030°
CrowMt | 501 | Utah | Cache | 5646.3256 | 41.871989° | -111.809444°

## sensors
Cache Valley Inversion Sensor Suite
sensors | elevation (cm) | mount | deployment | method | accuracy | manufacturer, model
air temperature 1 | 150 | Aspirated Apogee TS-100 | 2015-01-05 | Measurement Specialties™ 10K3A1iA thermistor | better than +- 0.1 degrees C above 0 degrees C | Apogee ST-110
air temperature 2 | 150 | Aspirated Apogee TS-100 | 2015-01-06 | Measurement Specialties™ 10K3A1iA thermistor | better than +- 0.1 degrees C above 0 degrees C | Apogee ST-111
air temperature 3 | 150 | Aspirated Apogee TS-100 | 2015-01-07 | Measurement Specialties™ 10K3A1iA thermistor | better than +- 0.1 degrees C above 0 degrees C | Apogee ST-112
solar radiation - uplooking | 200 | standard | 2015-01-08 | silicon chip pyranometer - heated | (< 5%) | Apogee SP-230
solar radiation - downlooking | 175 | standard | 2015-01-09 | thermopile pyranometer - heated | (+- 5%) | Apogee SP-610
wind speed | 250 | standard | 2015-01-10 | 3-cup anemometer & vane | (+- 1.5%) | RM Young Wind Sentry

## output
execution interval is 10 seconds, output table interval is every 3 minutes
variable | units | stat | sensor/description
timestamp | date time
record | RN
LastUpdate
Site | name
elevation | m
AirT_mean | degrees C | mean | mean (AirT_Avg_1,AirT_Avg_2,AirT_Avg_3)
AirT1_Max | degrees C | maximum | air temperature from thermistor 1
AirT2_Max | degrees C | maximum | air temperature from thermistor 2
AirT3_Max | degrees C | maximum | air temperature from thermistor 3
AirT1_Min | degrees C | minimum | air temperature from thermistor 1
AirT2_Min | degrees C | minimum | air temperature from thermistor 2
AirT3_Min | degrees C | minimum | air temperature from thermistor 3
AirT1_Avg | degrees C | average | air temperature from thermistor 1
AirT2_Avg | degrees C | average | air temperature from thermistor 2
AirT3_Avg | degrees C | average | air temperature from thermistor 3
AirT1AvgRun_Avg | degrees C | running average | 1 minute running average thermistor 1
AirT2AvgRun_Avg | degrees C | running average | 2 minute running average thermistor 2
AirT3AvgRun_Avg | degrees C | running average | 3 minute running average thermistor 3
AirT1_Std | degrees C | standard deviation | air temperature from thermistor 1
AirT2_Std | degrees C | standard deviation | air temperature from thermistor 2
AirT3_Std | degrees C | standard deviation | air temperature from thermistor 3
SWi_Avg | wm^2 | average | incoming short wave solar radiation
SWiDN_Avg | wm^2 | average | reflected short wave solar radiation
WS_ms_Max | m/s | maximum | wind gust
WS_ms_TMx | date time |  | time of maximum wind gust
WS_ms_Avg | m/s | average
WindDir_Avg | degrees | average
WindDir_SD | degrees | standard deviation
RPM_Avg | count | average | aspirated fan speed
BattV_Min | volts | minimum